|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Name of Project** | | **No. of Units** | **MW** | **Gross Installed Capacity (MW)** |
| GNDTP, Bathinda | |  |  | 0 |
|  |  | 0 |
| **Total** | | **0.00** |
| GGSSTP, Ropar | | 4 | 210 | **840.00** |
| GHTP, Lehra Mohabbat (Unit # 1 & 2) (Stage-I) | | 2 | 210 | 420.00 |
| GHTP, Lehra Mohabbat (Unit # 3 & 4) (Stage-II) | | 2 | 250 | 500.00 |
|  | | **Total** | | **920.00** |
| **TOTAL THERMAL** | |  |  | **1760.00** |
| Shanan | | 4 | 15 | 60.00 |
| 1 | 50 | 50.00 |
| **Total** | | **110.00** |
| UBDC-I | | 3 | 15 | 45.00 |
| UBDC-II | | 3 | 15.45 | 46.35 |
|  | | **Total** | | **91.35** |
| \*\*RSPP | | 4 | 150 | 600.00 |
| Less 20% J&K and 4.6% HP share from RSD | | | | -147.60 |
| Net RSD share of Punjab | | | | **452.40** |
| ASHP | | 4 | 33.5 | **134.00** |
| MHP-1&2 | | 6 | 15 | 90.00 |
| MHP-3&4 | | 6 | 19.5 | 117.00 |
| MHP-5 | | 2 | 9 | 18.00 |
|  | | **Total** | | **225.00** |
| Mini/Micro Hydel |  |  |  | **3.30** |
| **TOTAL HYDRO** | |  |  | **1016.05** |
| **TOTAL(HYDRO+THERMAL)** | | | | **2776.05** |
| **PEDA & NRSE Private Projects within Punjab** (excluding PSPCL's Own NRSE Projects i.e. UBDC & Mini/Micro Hydel Projects) | | | | **1245.09** |
| Rajpura TPP | | 2 | 700 | 1400.00 |
| Talwandi Sabo TPP | | 3 | 660 | 1980.00 |
| GVK TPP | | 2 | 270 | 540.00 |
| **Total Installed Capacity within the State** | | | | **7941.14** |
|  | | | | |
| **NRSE Private Projects outside Punjab** | | | | **136.80** |
| **Central Sector (FIRM Share only)** | | | | **4385.22** |
| **Share from BBMB** | | | | **1133.20** |
| **Total Gross Installed Capacity (from all sources)** | | | | **13596.35** |

**Installed Capacity of PSPCL as on 31.08.2019**